7-5

SECTION 504/ADA TECHNICAL ASSISTANCE HANDBOOK

SECTION 504/ADA TECHNICAL ASSISTANCE HANDBOOK

Prepared By

Louisiana Office of Community Development - Disaster Recovery

617 North Third Street

P.O. Box 94095

Baton Rouge, Louisiana 70804

May 2025

EQUAL HOUSING

OPPORTUNITY

ALTERNATIVE FORMATS FOR PERSONS WITH DISABILITIES ARE AVAILABLE UPON REQUEST

Table of Contents

INTRODUCTION	3

How Do I Use This Handbook?	3

Overview of Each Section	4

Why Do We Have to Complete a Self-Evaluation and Transition Plan?	4

What Does Program Accessibility Mean?	4

How Do I Organize the Self-Evaluation and Transition Plan?	5

SECTION I: CHECKLIST	6

Citizen Participation	6

Notification of Nondiscrimination	6

Grievance Procedure	6

Provision of Effective Communication	7

Provision of Auxiliary Aids and Services	7

Self-Evaluation Questionnaire	7

Accessibility Checklist	7

Fundamental Alteration and Undue Burden	8

SECTION II: SELF-EVALUATION PROCESS	9

504/ADA COORDINATOR	11

REVIEW COMMITTEE	13

NOTICE OF NONDISCRIMINATION	15

GRIEVANCE PROCEDURE	18

PROVISION OF EFFECTIVE COMMUNICATION	22

AUXILIARY AIDS AND SERVICES	24

HISTORIC PRESERVATION	26

EMPLOYMENT FACTS	27

NONDISCRIMINATION THROUGH CONTRACT	28

UNDUE BURDEN AND FUNDAMENTAL ALTERATION	29

PRACTICAL EXERCISES	31

SELF-EVALUATION QUESTIONNAIRE	41

SECTION III TRANSITION PLAN	46

Transition Plan Requirement	46

How is the Transition Plan Developed?	46

ADA/504 TRANSITION PLAN OUTLINE	47

ACCESSIBILITY CHECKLIST	48

ELEMENT 1: ACCESSIBLE ROUTE	49

ELEMENT 2: PARKING	50

ELEMENT 3: CURB RAMPS	51

ELEMENT 4: RAMPS	52

ELEMENT 5: ENTRANCE AND INTERIOR DOORS	53

ELEMENT 6: ELEVATORS	54

ELEMENT 7: LIFTS	55

ELEMENT 8: DRINKING FOUNTAINS	56

ELEMENT 9: RESTROOMS	57

ELEMENT 10: PUBLIC TELEPHONES	58

ELEMENT 11: WARNING SIGNALS	59

ELEMENT 12: MEETING AND CONFERENCE AREAS	60

OTHER BUILDING ELEMENTS AND SPECIALIZED FACILITIES	61

# INTRODUCTION

The Louisiana Office of Community Development – Disaster Recovery (LOCD-DR) is committed to educating state recipients, contractors, subcontractors, and subrecipients of the requirements of Section 504 of the Rehabilitation Act and the Americans with Disabilities Act.

Under Section 504, state and local governments and other entities receiving federal assistance are required to make their programs, activities, and services accessible to individuals with disabilities. Title II of the ADA extends this requirement to all state and local governments, whether or not they receive federal funds. Title II applies regardless of the public entity's size and seeks to ensure access to all publicly funded programs, services, and agencies. Public entities that receive federal funds are subject to the requirements of both the ADA and Section 504.

The LOCD-DR aims to inform state recipients, contractors, subcontractors, and subrecipients about the needs of Section 504 of the Rehabilitation Act and the Americans with Disabilities Act (ADA).

Under Section 504, state and local governments and other entities receiving federal assistance must ensure their programs, activities, and services are accessible to people with disabilities. Title II of the ADA broadens this requirement to include all state and local governments, whether or not they get federal funds. Title II applies no matter the size of the public entity and aims to guarantee access to all publicly funded programs, services, and agencies. Public entities that receive federal funds must follow both the ADA and Section 504.

The LOCD-DR has developed a standardized approach to assist in achieving compliance with these laws. This approach integrates the differences and similarities of Section 504 and the ADA.

The LOCD-DR believes that cities, parishes, other recipients, and individuals with disabilities can work together as a team to promote the exchange of information and develop positive working relationships. Careful planning, aggressive outreach, and a strong commitment by citizens and officials alike are basic building blocks to ensure an ongoing accessibility program. The end result is that the programs, services, and activities of all communities in Louisiana will be accessible to all people.

## How Do I Use This Handbook?

This handbook is a guide for communities and other entities that receive federal funding from the LOCD-DR. You can use this handbook as a workbook. As you complete the exercises in the handbook, think of your city, county, or organization's programs, services, and activities, and make notes to address in the Self-Evaluation. This handbook should not be considered as legal advice in place of the federal regulations. In some areas, we refer only to the ADA because all levels of government must comply with the ADA. However, these areas of the book are also pertinent to Section 504.

Information from this handbook can help you develop an ongoing accessibility program to make your services, activities, and programs accessible for individuals with disabilities. For further clarification on Section 504 and the ADA, consult the applicable federal regulations and the ADA's Title II found at Americans with Disabilities Act Title II Regulations | ADA.gov.

## Overview of Each Section

Section I of this handbook contains a checklist that is to be completed and submitted to the LOCD-DR, along with your Self-Evaluation and Transition Plan. This is a guide to ensure that you complete all requirements of the Self­ Evaluation and Transition Plan.

Section II of this handbook is the Self-Evaluation process. It contains information and written exercises that you should read and complete before conducting the Self-Evaluation of your programs, policies, and procedures. The following is an overview of Section II.

A.		Informational worksheets on how to accomplish the following requirements: STEP l: Designate a 504/ADA Coordinator

STEP 2: Organize a Citizen Review Committee STEP 3: Develop Your Policy on Nondiscrimination STEP 4: Develop Your Grievance Procedure

STEP 5: Provide Effective Communication STEP 6: Provide Auxiliary Aids and Services

B.	Questions on disability, employment, and Title II activities to help you understand common practices of discrimination and recognize common problems in your Self-Evaluation. Keep in mind that as circumstances change, the answers to these questions may also change. Therefore, you must apply the 504/ADA regulations on a case-by-case basis.

- A Self-Evaluation questionnaire to assist in your review of subrecipient programs, policies, and procedures. Complete this questionnaire after you work through the activities in parts A and B above. This questionnaire and its results constitute your Self-Evaluation.

Section III of this handbook is about the Transition Plan. It contains information you will need to complete before developing your Transition Plan, and it contains the outline you need to complete for each building requiring structural changes. Worksheets are included that focus on structural modifications to make your programs accessible. An accessibility checklist is included on pages 50-63. A more complete Americans with Disabilities Act Accessibility Guidelines Checklist can be obtained from the LOCD-DR.

Once you complete all of the exercises and provide all necessary documentation in Sections II and III, you will be prepared to make the changes to comply with Section 504 and the ADA requirements. DOCUMENT EVERYTHING THAT YOU DO SO THAT YOU WILL BE ABLE TO DEMONSTRATE A GOOD FAITH EFFORT

## Why Do We Have to Complete a Self-Evaluation and Transition Plan?

These documents will help you review your programs, services, and activities to determine what you must do to make your services available to individuals with disabilities. Your goal is to meet the standard known as "Program Accessibility." In addition, both Sections 504 and the ADA require these to be completed.

## What Does Program Accessibility Mean?

A public entity (state and local government) or any entity that receives federal funds may not deny the benefits of its programs, activities, or services to individuals with disabilities because its facilities are inaccessible. When viewed in their entirety, an entity's services, programs, or activities must be accessible to and usable by individuals with disabilities.

This standard is known as "program accessibility,'' and it applies to all existing facilities (buildings, parks, etc.) of an applicable entity. However, applicable entities are not necessarily required to make each of their facilities accessible. In many cases, providing access through structural changes may be the most effective way of providing program access. BUT program accessibility may be provided in ways other than structural modifications.

When choosing a method for providing program access, an entity must give priority to the method that results in the most integrated setting appropriate to encourage interaction among all users, including individuals with disabilities.

This Self-Evaluation process is critical in determining how to make your programs accessible. Without a comprehensive evaluation, it is difficult for an applicable entity to determine how to make its programs, services, and activities accessible when viewed in their entirety.

Is a City, Parish, or Organization Required to Make Programs Accessible If No Individuals with a Disability are Known to Live in the Community?

What Are Some Examples of Providing Program Access Without Making Structural Changes?

- Purchase equipment

- Move programs to accessible locations

- Provide qualified aids

- Modify existing equipment

What Are Some Examples of Providing Program Access Through Structural Changes?

- Build a ramp

- Modify the bathrooms

- Install a lift or elevator

- Provide accessible parking spaces

- Install curb ramps

Is There a Time Period for Achieving Program Accessibility?

For the ADA, public entities were required to achieve program accessibility by January 26, 1992. If structural changes were needed to achieve program accessibility, they must have been made no later than January 26, 1995. This three-year time period was not a grace period; instead, it was a deadline, meaning that all changes were to be made as soon as possible.  Additional information can be found here: ADA Standards for Accessible Design | ADA.gov.

## How Do I Organize the Self-Evaluation and Transition Plan?

Use a three-ring binder to organize the Self-Evaluation and Transition Plan documentation. Tab the sections in your binder to help you locate information easily.

By using a three-ring binder, you can monitor and update the plans as your entity progresses in its 504/ADA compliance efforts. If there is a request to review efforts to comply with 504/ADA, all documentation will be organized in one binder. Your plans are living documents to be used, not placed on a shelf and forgotten. From time to time, as things change, you will want to revisit your Self-Evaluation and Transition Plan for updating. In addition, you will want to use the information to train existing and new staff on policies and procedures related to 504/ADA.

# SECTION I: CHECKLIST

Organize Your Self-Evaluation Plan: As you include the documentation on the following items in your Self­ Evaluation and Transition plans, check off each item in the list.

Designated Employee (Required under Section 504 when an entity has more than 15 employees and under ADA for 50 or more employees).

- Not applicable - less than 15/50 employees.

- Name of 504/ADA coordinator - complete and include page 12 with your Self-Evaluation.

NOTE: If not required to designate a coordinator, complete page 12 for the person responsible for the Self-Evaluation.

## Citizen Participation

You are required to consult with people with disabilities or organizations representing persons with disabilities.

- Name of committee members and their background.

- Committee meeting minutes.

- Minutes of city council or commissioner meetings pertaining to ADA/504 issues.

## Notification of Nondiscrimination

(Required under Section 504 when an entity has more than 15 employees, and under ADA for 50 or more employees).

- Not applicable - less than 15/50 employees.

- Copy of your policy on nondiscrimination (see page 17 for an example).

- Copy of the notice published in the newspaper (see page 16 for an example).

## Grievance Procedure

(Required under Section 504 when an entity has more than 15 employees, and under ADA for 50 or more employees).

- Not applicable - less than 15/50 employees.

- Copy of your grievance procedure (see page 19 for an example).

- Statement in your nondiscrimination notice that a grievance procedure is available.

- Methods on how you will notify the public and staff about your grievance procedure.

## Provision of Effective Communication

- Copy of your policy on effective communication (see page 22 for an example).

- Steps (procedures) that will be taken to ensure that the policy is carried out.

- Methods on how you will inform the public that your city, parish, or organization will provide effective communication.

## Provision of Auxiliary Aids and Services

- Description of the methods for providing auxiliary aids and services.

- Description of how a person with a disability can request auxiliary aids and services.

- Steps by which you will advertise to individuals with disabilities that the city or county will provide auxiliary aids and services.

- Description of the methods your city, parish, or organization will use to ensure that meetings, hearings, and conferences are accessible for individuals with communication disabilities.

- Description of how your city, parish, or organization will provide effective communication over the telephone.

- Description of how your city, parish, or organization will provide alternative formats for written materials.

## Self-Evaluation Questionnaire

- Completion of the Self-Evaluation questionnaire beginning on page 41.

- Documentation to support answers in the questionnaire.

- Description of all policies, procedures, or unwritten practices that discriminate or exclude individuals with disabilities.

- A copy of all final modifications to policies, procedures, and practices.

## Accessibility Checklist

- Completion of the accessibility checklist.

- Identify structural barriers that can be overcome through nonstructural changes, e.g., moving a service from one floor to an accessible floor.

- Completion of ADA/504 Transition Plan Outline for each building in which structural changes must be made to achieve accessibility, because no non-structural solution is available.

## Fundamental Alteration and Undue Burden

- Policy on using fundamental alteration and undue burden when providing program accessibility (see page 30 for definition).

- Written documentation supporting your entity's reason for claiming this standard.

- Documentation that all resources available for funding and operation of the service, program, or activities were taken into consideration.

- Documentation that the decision to claim this standard was made by the head of the city, parish, or organization.

- Description of alternative modifications or methods that are feasible to ensure that your city, parish, or organization does not discriminate.

Submit the Self-Evaluation and Transition Plan to the LOCD-DR. Please Include the Following Items:

- Checklist from pages 6-8.

- The Self-Evaluation Checklist (pages 41-47). Include name of entity, contact person, and telephone number.

- The ADA/504 Transition Plan Outline on page 48, for each building.

# SECTION II: SELF-EVALUATION PROCESS

Why Do We Have to Conduct a Self-Evaluation?

The basic mandate of Section 504 and Title II of the ADA states that "no qualified individual with a disability shall be excluded from participation, denied benefits, services, access to programs, or activities, or be subjected to discrimination by any public entity. "

All public or other applicable entities, regardless of size, must conduct a Self­ Evaluation. The Self-Evaluation is a comprehensive review of an entity's policies and practices. The Self-Evaluation includes communication and

employment, as well as the policies and practices for all services, programs, and activities. The Self-Evaluation must involve:

  - Identifying any services, policies, or practices that discriminate against or exclude people with disabilities.

  - Modifying all services, policies, and practices that are discriminatory or exclusionary.

Information to Include in the Self-Evaluation

  - List of interested persons (to include persons with disabilities or persons representing them) consulted about the Self-Evaluation.

  - Description of the areas examined and any problems identified.

  - Description of any modifications made to your policies, procedures, services, and programs.

How Long Do We Have to Complete a Self-Evaluation?

For the ADA, a Self-Evaluation should have been completed. However, public entities are liable for any discriminatory policies or practices. Therefore, if any practices are identified during the review, your city or parish must modify them immediately. For other entities required to do a Self-Evaluation because of Section 504, it must be completed and submitted to the LOCD-DR before the LOCD-DR approves a new grant or the final drawdown of funds.

How Do We Begin the Self-Evaluation Plan Process?

- Compile a list of all your entity's programs, activities, and services.

  - Gather all materials available that may describe or govern how your programs, services, and activities are administered. Frequently, written information is not available for review.

therefore, it is important to include staff who understands how your programs operate. If staff is not available to participate, schedule interviews to help conduct the Self-Evaluation.

  - Create a committee and organize the members into small groups to work on certain areas of the review process (for example, program policies and procedures, employment, effective communication, notice of nondiscrimination, city/county codes, and ordinances). If you do this, make sure that the small groups take detailed notes so they can present their findings to the entire committee. Remember, their findings will be included in the Self-Evaluation plan. For entities with fewer than five employees, all should be included in the process. The committee should include persons with disabilities.

  - Before the Self-Evaluation review is started, have your committee members complete the exercises in this handbook (pages 31-40). These exercises will help your committee members understand the Self-Evaluation and Transition Plan process.

  - Review and complete, as applicable, pages 7-32.

  - Complete the Self-Evaluation questionnaire on pages 41-47

  - Identify policies, procedures, etc. that need to be modified or created.

  - Present the Self-Evaluation to your city council, parish, metro council members, and board of directors.

## 504/ADA COORDINATOR

Step 1: Designate an Individual Who Will Coordinate Your 504/ADA Compliance Efforts.

  - Why should you designate a 504/ADA Coordinator?

    - The coordinator will make sure the Self-Evaluation and Transition Plan are completed and that recommendations are implemented.

    - The coordinator will help put together and coordinate your review committee.

    - The coordinator will draft a Notice of Nondiscrimination and ensure that it is posted regularly.

    - The coordinator will develop a grievance procedure and ensure that it is made available to the public and employees.

    - The coordinator will receive and investigate grievances on city, parish, or organization programs, services, and employment practices.

    - The coordinator will help organize training activities on Section 504 and the ADA.

    - The coordinator can help monitor and prevent potential discrimination acts.

    - The coordinator can help keep you up to date on 504/ADA regulations.

    - The coordinator is a contact person for individuals with disabilities who is available and knowledgeable on 504/ADA issues.

- What are some important qualities that a 504/ADA Coordinator should possess to be effective?

  - The 504/ADA coordinator should be an employee of your organization (if there are no employees, designate a person who has the authority to represent the city, parish, or organization, such as the mayor, a city council person or parish administrator, or member of the organization's executive management).

  - The 504/ADA coordinator must have the authority, knowledge, and motivation to carry out 504/ADA regulations.

  - The 504/ADA coordinator should be organized and experienced in collecting and analyzing information.

  - The 504/ADA coordinator should have the skills to coordinate, train, and motivate a citizen review committee.

- Who is your 504/ADA Coordinator? Fill in the blanks.

Name				  Title		 City/Parish/Organization					 Address				 Telephone Number	  Office Hours

If this person is different from the person responsible for the Self-Evaluation and Transition Plan, provide the above information for that person.

## REVIEW COMMITTEE

Step 2: Organize a Review Committee That Can Help with Your 504/ADA Compliance Efforts

- Why should you use a review committee?

    - The review committee can help conduct the Self-Evaluation and Transition Plan review.

  - The committee can help you identify architectural, communication, and policy barriers that may prevent people with disabilities from accessing your services.

    - The committee can gather input from interested individuals who have expertise with a disability. Their suggestions may provide creative solutions to problems that seem impossible to solve. In addition, their recommendations may be more cost-effective and better meet the needs of individuals with disabilities.

  - The committee can help enforce a good-faith effort and increase public relations, cooperation, and teamwork with your city or county.

  - The committee can initiate public support for 504/ADA compliance efforts.

  - The committee can help your 504/ADA coordinator monitor progress in eliminating discriminatory practices and structural barriers.

- How can you organize a review committee?

  - Ask people you know who have a disability.

  - Advertise in the paper, newsletters, posters, grocery stores, and other public places.

  - Designate a member from your committee to chair the meetings of the review committee.

- How many people should be on your committee?

Your committee should not be too big or too small. There is no specific limitation on the number of people you need on your committee. If your committee is too big, it may be difficult to make decisions. On the other hand, if the committee is too small, you may not get a good representation of different ideas and experiences. A general standard ranges from four to five people.

Keep in mind that committee members will not possess the same qualities. Therefore, it is important to get a good representation of individuals on your panel. The members of your committee should he made up of individuals who have different disabilities, other interested persons from your community, and staff from your city, parish, or organization.

- Overall, committee members should have the following:

  - Commitment and willingness to participate in training on 504/ADA

  - Positive attitude toward civil rights for people with disabilities

  - Individuals who have disabilities

  - Individuals who work with people who have disabilities

  - Knowledge of discrimination and access issues

  - Knowledge of your services and programs

  - Knowledge of the Americans with Disabilities Act Accessibility Guidelines (ADAAG)

- If you can't find individuals who have disabilities, what do you do?

  - Contact human service groups/organizations.

  - Advertise in your local newspaper, on the radio, in newsletters, and by word of mouth.

  - Go beyond your city or parish boundaries.

## NOTICE OF NONDISCRIMINATION

Step 3: You Must Adopt a Public Policy on Nondiscrimination and Notify the Public on an Ongoing Basis That Your City, Parish, or Organization Does not Discriminate.

- Why is it important to develop and post a public notice that your entity does not discriminate?

  - To advertise to the public that you are making a good faith effort to comply with 504/ADA.

  - To notify individuals with disabilities that you have a designated 504/ADA coordinator.

- What information do you need to include in the public notice?

  - A statement that your entity does not discriminate under Section 504 or the ADA.

  - Your 504/ADA coordinator's name, address, telephone number, and office hours.

  - A statement that your entity has a grievance procedure available to resolve complaints.

  - A statement that your entity provides auxiliary aids and services for the provision of effective communication.

- How often should you post the nondiscrimination notice to the public?

You should publish your policy once a year. A sample notice and policy are included on pages 17 and 18.

- Describe how you are prepared to handle requests for auxiliary aids and services or other accommodations effectively.

You may want to include a statement in public documents or public hearings, etc., that asks for at least three to five days' advance notice to request auxiliary aids or services. This advance notice will help you locate effective auxiliary aids or services to meet the effective communication standard. However, the advance notice does not relieve you of the responsibility to be prepared to provide other services that can be provided on request. Your staff should always be prepared for such requests.

SAMPLE PUBLIC NOTICE

ON

NONDISCRIMATION

As required by Section 504 of the Rehabilitation Act (as amended) and the Americans with Disabilities Act (ADA). (Insert Name of Organization  Here) has adopted by resolution a policy regarding "Nondiscrimination on the Basis of Disability."

(Insert Name of Organization Here) does not discriminate on the basis of on disability in the admission to, access to, or operations of programs, services, or activities.

Qualified individuals who need accessible communication aids and services or other accommodations to participate in programs and activities are invited to make their needs and preferences known to the 504/ADA coordinator. Please give us at least three to five days' advance notice so we can adequately meet your needs.

An internal grievance procedure is available to resolve complaints. Questions, concerns, or requests for additional information regarding 504/ADA should be forwarded to:

504/ADA Coordinator's Name			 Title				 Address				 Phone Number		TDD

Days and Hours Available

Upon request, this notice and other materials may be made available in alternative formats (for example, large print or audio tape) from the 504/ADA coordinator.

POLICY REGARDING NONDISCRIMINATION ON THE BASIS OF DISABILITY

A resolution of the (Insert Name of Organization Here), adopting a policy of nondiscrimination on the basis of disability.

Whereas, the Congress of the United States has passed Section 504 of the Rehabilitation Act of 1973, which requires that "no otherwise qualified individual with a disability shall, solely on the basis of their disability, be excluded from participation in, be denied the benefits of, or be subject to discrimination under any program, services, or activities receiving federal assistance"; and

Whereas, the (Insert Name of Organization Here) has applied for/received Federal funds and is required to comply with Section 504 of the Rehabilitation Act of 1973; and

Whereas, the failure to comply with the terms and conditions of Section 504 of the Rehabilitation Act may cause the City/Parish/Organization to lose its grant or eligibility for future grants.

Now, therefore, be it resolved by the (Insert Name of Organization Here) of, the following:

Section I. It is the policy of the (Insert Name of Organization Here) that all programs and activities shall be accessible to and usable by qualified persons with disabilities, in accordance with Section 504 and the Americans with Disabilities Act (ADA).

Section II. The (Insert Name of Organization Here) shall conduct a Self-Evaluation, with the assistance of a review committee involving individuals with disabilities, of its programs, policies, procedures, and facilities to determine those areas where discrimination may occur.

Section III. The (Insert Name of Organization Here) shall, upon completion of the Self-Evaluation plan, make revisions, modifications, or other changes so as to fully comply with the letter and intent of Section 504 and the ADA.

Section IV. Furthermore, the (Insert Name of Organization Here) shall, where building modifications are required, develop and implement a Transition Plan to eliminate structural barriers in a timely manner in accordance with Section 504 and the ADA.

Citizens may contact (designated employee) at (address), (telephone number) for assistance, or to answer questions regarding this policy during the hours of	_

Passed By (Insert Name of Organization)

Signed By 	 Title	 Date		Attest---------------

(Other entities should change the wording as appropriate to indicate who they are and how the policy was developed).

## GRIEVANCE PROCEDURE

Step 4: Adopt a Grievance Procedure for the Public and Your Employees to Resolve Complaints at a Local Level.

- What is a grievance procedure?

'

A written description of steps that an employee or citizen can use to resolve a complaint with your city or county, or organization.

- Why is it important to have a grievance procedure?

  - To resolve complaints rather than have an individual file a complaint with a state or federal agency or file a lawsuit.

  - Demonstrate to those who have complaints that you want to make every effort to address their concerns.

- What information should be included in the grievance procedure?

  - A detailed description of how to file a grievance.

  - A two-step review process that allows for appeal.

  - Reasonable time frames for review and resolution of the grievance.

  - Name, address, and telephone number of the person who will receive and follow up on the grievance.

  - A statement that informs individuals that alternative ways of filing complaints (such as personal interviews or a tape recording of the complaint) are acceptable. See page 20 for a sample grievance procedure.

- How often should a grievance procedure be published?

  - You need to make sure that you notify the public on an ongoing basis that you have a grievance procedure available for use. A notice about the availability of your grievance procedure should be included in your public notice. See page 17 for an example of your public notice.

SAMPLE GRIEVANCE PROCEDURE

The following grievance procedure is established to meet the requirements of Section 504 of the Rehabilitation Act as amended and the Americans with Disabilities Act of 1990 (ADA).

According to these laws, (Insert the Name of Organization Here) certifies that all citizens shall have the right to submit a grievance on the basis of disability in policies or practices regarding employment, services, activities, facilities, or benefits provided by (Insert the Name of Organization Here).

When filing a grievance, citizens must provide detailed information to allow an investigation, in­cluding the date, location, and description of the problem. The grievance must be in writing and must include the name, address, and telephone number of the complainant. Upon request, alternative means of filing complaints, such as personal interviews or a tape recording, will be made available for individuals with disabilities. The complaint should be submitted by the complainant or their designee as soon as possible, but no later than 90 days after the alleged violation. Complaints must be signed and sent to:

Name/Title of Coordinator 			 Address 			  Telephone Number	 (Voice)	 (TDD)

Within 15 calendar days after receiving the complaint, (Name of 504/ADA Coordinator) will meet with the complainant to discuss the complaint and possible resolution. Within 15 calendar days after the meeting (Name of 504/ADA Coordinator) will respond in writing. Where appropriate, the response shall be in a format accessible to the complainant (such as large print or audio tape). The response will explain the position of (Name of City/Parish/Organization) and offer options for resolving the complaint.

ff the response by (Name of 504/ADA Coordinator) does not satisfactorily resolve the issue, the complainant or their designee may appeal the decision of the 504/ADA coordinator. Appeals must be made within 15 calendar days after receipt of the response. Appeals must be directed to the chief elected official or their designee.

Within 15 calendar days after receiving the appeal, the chief elected official or their designee will meet with the complainant to discuss the complaint and to discuss possible resolutions. Within 15 calendar days after the meeting, the chief elected official or their designee will provide a response in writing. Where appropriate, the response shall be in a format accessible to the complainant. The response shall be accompanied by a final resolution of the complaint. The 504/ADA Coordinator shall maintain the files and records of (Insert the Name of Organization Here) pertaining to the complaints filed for a period of three years after the closeout of LOCD-DR’s grant with HUD.

Other Complaint Procedures

All individuals have a right to a prompt and equitable resolution. Individuals or classes of individuals who believe they have been subjected to discrimination based on disability have several ways to file a grievance:

Under Title II, filing a grievance with the entity's ADA coordinator, filing a complaint with a federal agency, or filing a lawsuit may be done independently of others. Individuals are not required to file either a grievance or complaint to bring a lawsuit. Lawsuits may be filed at any time. The following are ways in which a Title II complaint can be filed:

United States Department of Justice (DOJ)

Civil Rights Division

Federal Coordination and Compliance Section

950 Pennsylvania Avenue, NW

Washington, D.C. 20530

Online:

Submit a report on the Department of Justice’s Civil Rights Division website

DISABILITY RESOURCE LIST

Note: Inclusion in this resource list does not constitute endorsement by the Louisiana Office of Community Development – Disaster Recovery (LOCD-DR), nor does omission imply non-endorsement. Our goal is to provide you with information on some key resources available. Please contact us if you know of a useful resource missing from this list.

Governor's Office of Disability Affairs

Promote the rights and opportunities for

persons with disabilities in the State of Louisiana

Physical

150 Third Street, Suite 129 Baton Rouge, LA 7080 I Mailing

P.O. Box 94004

Baton Rouge, LA 70804

Phone: (225) 219-7550

Fax: (225) 219-7551

United States Dept. of Justice (DOJ) Provides free technical assistance and informational materials to people with disabilities, businesses, state and local

government agencies, and the general public on rights and responsibilities under Titles II and m of the ADA.

Phone: 800-514-0301 (Voice)

1-833-610-1264 (TTY)

Website: https://www.ada.gov/

An international toll-free consulting service that provides information regarding the ADA, job accommodations, and the employability of people with disabilities.

Mailing:

P.O. Box 6080

Morgantown, WV 26506-6080

JAN ADA Information: (800) 526-7234 Voice

Phone: 800-ADA-WORK (232-9675) TTY

Website: https://askjan.org/

Louisiana Assistive Technology Assistive Technology

Access Network (LATAN)

Serves Louisiana citizens of all ages with all types of disabilities and limitations due to aging who need assistive technology and daily

living aids.

Physical

10988 N Harrells Ferry Rd. Suite 5

Baton Rouge, LA 70816

Mailing

P.O Box 14115

Baton Rouge, LA 70898

Phone: (225) 925-9500 or (800) 270-6 l 85

Fax: (225) 925-9560

Emergency Procedures for Employees with Disabilities in Office Occupancies

Job Accommodations Network (JAN)

A procedural guideline funded by the U.S. Fire Administration and developed by the National Institute of Standards and Technology, with assistance from the National Task Force on Life Safety and People with Disabilities. Write for a copy of item Number FA-154:

Mailing

United States Fire Administration 16825 South Seton Avenue Emmitsburg, MD 21727

## PROVISION OF EFFECTIVE COMMUNICATION

Step 5: Your entity must provide effective communication for individuals with disabilities to participate in your programs, services, and activities.

- What is effective communication?

Public entities are required to ensure that applicants, participants, and members of the general public with disabilities have communication access that is as equally effective as that provided to people without disabilities. What is effective for one individual may be different for another individual. Therefore, effective communication must be provided on an individualized basis.

- How is your entity providing communication? Check the methods that you are using. Jot down your own.

  - Printed information is available in alternative formats (large print, audio, braille,

readers, etc.)

  - Training will be provided to staff on effective communication.

  - A resource list of interpreters, auxiliary aids and services, and equipment is used.

  - We have a budget for the purchase of auxiliary aids and services.

  - We have purchased auxiliary aids and services.

- Why is it important that your entity provide effective communication?

- To ensure individuals with disabilities have access to and can participate in services and programs in the same way as other individuals in the community who do not have disabilities.

- The law requires that a public entity provide effective communication.

- To prevent potential complaints, federal audits, loss of federal dollars, and lawsuits.

- Have you drafted a policy that meets the requirements of the ADA on the provision of effective communication?

(Recipient)	will ensure that applicants, participants, and members of the general public who have disabilities are provided communication access that is equally effective as that provided to people without disabilities. Effective communication will be provided through the provision of media aids and services upon request.

- Do you have procedures that your entity can use to carry out your policy on effective communication? Check the ones that you will use.

  - Effective communication will be achieved through the use of auxiliary aids and services upon request of a qualified person with a disability.

  - Primary consideration will be given to the individual who requests the auxiliary aid or service.

  - A current resource list of organizations, businesses, and individuals is available through

our 504/ADA Coordinator to help identify aids and services.

  - In choosing equipment or services, the individual requesting the service will first be asked what type of communication aid or service is the most effective.

  - If the individual's request cannot be granted, every effort to find other services or equipment that will be equally effective will be provided.

  - If, for some reason, effective communication as requested by the individual cannot be provided, the following steps will be followed:

- The individual making the request will be told immediately why their request cannot be granted and the reason why the decision was made.

- When claiming fundamental alteration or undue burden, the (Insert the Name of Organization Here) will document the basis for its decision in a written statement and demonstrate that all resources available for the funding and operation of the service, activity, or program were taken into consideration.

- The decision not to provide the service must be made by the head of the entity or their designee. Any such designee must be a high-ranking official, no lower than a department head, having budgetary authority and responsibility for making spending decisions.

## AUXILIARY AIDS AND SERVICES

Step 6: Your entity must provide auxiliary aids and services in order for individuals with disabilities to participate in your programs, services, and activities.

- What are auxiliary aids and services?

To overcome communication barriers, equipment and other services are frequently used for individuals who are blind, visually impaired, deaf, hearing impaired, or speech impaired or who have a cognitive disability. The following are examples of auxiliary aids and services:

A qualified sign language interpreter: A qualified sign language interpreter is an individual able to interpret effectively, accurately and impartially. This includes receptively and expressively using any necessary specialized vocabulary. In most cases, it will not be appropriate to use a family member or companion as an interpreter.

The person has right to request an impartial interpreter. A person who takes a sign language or knows some sign language is not a qualified interpreter.

It is important to remember that interpreters have different backgrounds and skills of interpreting. There are different kinds of sign language. Individuals who are deaf may know how to communicate in only one kind of sign language. It is important that you ask the individual who is deaf what kind of sign language they use. Also, ask the individual to refer you to a qualified interpreter who may be available to provide the service.

When is an interpreter required? A notepad and pen for written communication may be sufficient for simple conversation, though an interpreter may be necessary when the information is complex or the exchange is lengthy. Factors to be considered include:

  - Context of the event

  - Number of people involved

  - Importance of the material being communicated

An example of simple conversation is asking the individual if she or he would need

an interpreter or other auxiliary aids or services. Examples of complex communication are a court hearing, a city or parish council meeting, or an organizational board meeting. If the person cannot understand what is being said or communicate with you in writing, an interpreter will probably be necessary. Always ask the individual if they will need an interpreter or another effective measure of communication.

Television and Video Productions: Television productions and videotapes produced by a public entity are required to ensure communication access. One way of doing so is through open captioning, where you see written words appear on the bottom of your television.

Telephone Communication: If you use the telephone to

communicate with the public, equally effective communication with people must be provided, including communication with people having hearing and speech disabilities. Use of a Telecommunication Device for the Deaf (TDD) and a Relay Service are two methods of ensuring telephone access for people who have hearing or speech disabilities. Relay Louisiana is available statewide to provide effective communication by telephone.

,,...._

•••••••••

•••••

The number is 1-800- 846-5277 for TDD users and 1-800-947-5277 for voice users.

Emergency Services: Government units that provide direct telephone access to emergency services, such as police and fire departments, must have a TDD. For emergency services, reliance on the relay service is not considered an acceptable alternative. Emergency service providers are also encouraged, but not required, to provide their 911 operators with a voice amplification device in the telephone handset so that efforts of a hard-of-hearing person to communicate on the telephone can be assisted, if necessary.

General Information: General information, such as the availability and location of accessible services, activities, and facilities, must be provided by all public entities.

Signs: This requirement specifically includes directional signs at inaccessible entrances indicating where an accessible entrance is located. The requirement also requires signs indicating the location of TDDS or TDD pay telephones.

- How do you decide what type of auxiliary aid or service to provide to individuals with Disabilities?

Always ask the individual who requests the auxiliary aid or service. The ADA states that in choosing an auxiliary aid or service, primary consideration must be given to the aid or service requested by the individual.

- Where do you find appropriate auxiliary aids or services?

- Ask the individual who requests the services.

- Look in the yellow pages.

- Contact organizations that represent people with disabilities

- Contact the state Vocational Rehabilitation Office.

## HISTORIC PRESERVATION

What is historic preservation program?

"Historic preservation programs" are programs that have preservation of historic properties

as a primary purpose.

How do we provide program access in historic programs?

In providing program access, a state or local government is not required to take any action that would threaten or destroy the historic significance of a historic preservation program housed in a historic property.

What are historic properties?

Historic properties are those listed or eligible for listing in the National Register of Historic Places or designated as historic under a State or local law.

What should a City or County do if they house their non-historic programs in a historic building?

If a program occupies a historic property but does not have historic preservation as a primary purpose, the special accessibility provisions described in the following section cannot be used. As a result, you will have to make structural changes that don't destroy the historical significance of the building.

Other ways may include the relocation of

your programs to a different facility or finding alternative ways to program access. Consult the Title II technical Assistance Manual for further detail. This manual is available through LOCD-DR.

Some examples of non-historic programs are:

- Water and sewer

- City/parish council meetings

- Motor vehicles

- Police department

- Planning and zoning

Is there a priority list for providing program access?

When providing program access to historic properties, state and local governments must give priority to methods that provide independent physical access.

When physical access is not required because it would threaten or destroy historic significance, alternative methods of providing program access must be provided. However, this exception is to

be applied only in those very rare situations in which it is not possible to provide access to a historic property using the special access provisions established by the ADAAG technical standards.

In such situations, alternative methods may include:

- Using audio-visual materials and devices to depict inaccessible

- Assigning aides to guide persons with disabilities through those pa11s of the historic property that would be inaccessible without the guide.

- Adopting other innovative methods

## EMPLOYMENT FACTS

All State and Local governments are covered, regardless of size and number of employees

Remember

State and local governments cannot discriminate against job applicants and employees with disabilities regardless of how many people they employ. For example, even if a city has one employee, it cannot discriminate in employment. Local governments are subject to Title I of the ADA for employment for both ADA and Section 504.

Where are employment complaints filed?

Department of Housing and Urban Development

Community Planning and Development 451 7th Street

Washington, DC 20410-4000

1-800-347-3735

Equal Employment Opportunity Commission

131 M Street

Washington, DC 20507

1-800-669-4000 (Voice)

1-844-234-5122 (TTY)

For your information

Private employers are only subject to Title I of the ADA if they have 15 or more employees. In Louisiana, the Americans with Disability Act prevents private employers with 15 or employees from discriminating against job applicants and employees with disabilities.

Can lawsuits be filed against State and Local governments?

Lawsuits may be filed against Title II entities (state and local government) at any time. An administrative complaint does not have to be filed with a federal or state agency designated to investigate the discrimination charge.	Individuals with disabilities (or organizations representing individuals with disabilities) may file lawsuits.

## NONDISCRIMINATION THROUGH CONTRACT

What is the responsibility of the State agency, City, or Parish that enters into a contract with a private entity?

A state agency, city, or parish that enters into a contract with a private entity must ensure that the activity operated under the contract is in compliance with Section 504/ADA. Responsibility extends only to the activity that is under contract by the state agency, city, or parish. The state agency, city, or parish is not responsible for ensuring compliance of the other activities of the business that are not involved in the contract.

Example

If a city has a contract with a private organization to run a golf course, the state agency, city, or parish is responsible for ensuring that the golf course is operated in compliance

with the ADA and Section 504. However, if the same organization also operates other programs not funded by the state agency, city, or parish, the state agency, city, or parish bears no responsibility for any discriminatory activity in the other programs, simply because of the contract for the golf course.

If a parish has a contract with a private non-profit organization to run a senior center, the parish is responsible for ensuring that the senior center is operated in compliance with the ADA and Section

504. However, if the same private non-profit organization also operates other programs not funded by the Parish, the parish bears no responsibility for any discriminatory activity in the other programs simply because of the contract for the senior center.

When government and private entities act jointly, the government entity must ensure that the Title II requirements are met, while the private entity must ensure that the public accommodations requirements are met.

For example, if a city engages in a joint venture with a corporation to build a new professional sports stadium, the stadium must be built in compliance with the accessibility provisions of both Title II and Title III. In cases where the standards differ, the stadium would have to meet the standard that provides the highest degree of access to people with disabilities.

## UNDUE BURDEN AND FUNDAMENTAL ALTERATION

Undue Burden

Title II (state and local government) of the ADA and Section 504 require a public entity to make its programs accessible in all cases, except where to do so would result in a fundamental alteration in the nature of the program or undue financial or administrative burdens.

Four Areas That Must Be Considered to Claim This Standard

If a city, parish, or organization determines that providing program access in certain areas would result in a financial or administrative burden, the following four areas must be considered:

- The city, parish, or organization's resources available for use in the funding and operation of the service, program, or activity.

- The burden of providing this standard rests with the public entity.

- The decision that compliance would result in such alteration or burdens must be made by the head of the public entity or their designee, having budgetary authority and responsibility for making spending decisions.

- A written statement of the reasons for reaching this conclusion.

Does a public entity have to develop alternative methods if it claims the undue burden standard?

The undue burden standard does not relieve a City, Parish, or organization of all obligations to individuals with disabilities. A public entity is not required to take actions that would result in a fundamental alteration in the nature of a service, program, or activity, or result in undue financial and administrative burdens. However, it must nevertheless take any other steps necessary to ensure that individuals with disabilities receive the benefits or services provided by the public entity.

What happens if someone disagrees with a city, parish, or organization's decision to claim undue burden?

A lawsuit or complaint may be filed by any person who believes that he or she or any specific class of persons has been injured by a chief elected official's or executive management's decision or failure to make a decision.

TWO MOST COMMON QUESTIONS AND ANSWERS

- Can we carry individuals with disabilities upstairs instead of making structural modifications or relocating our programs?

Carrying is not allowed (28 CFR § 35.1S0(b) (l) and DOJ Title II Technical Assistance Manual, p.20).

Carrying an individual with a disability is considered an ineffective and, therefore, unacceptable method for achieving program accessibility. Carrying is not permitted as an alternative to structural modifications, such as putting in a ramp or a lift.

Carrying is allowed only in very rare and manifestly exceptional cases, such as onto an oceanographic vessel (such as a submarine) where physical access either cannot be provided or is prohibitively expensive.

Also, when program accessibility in existing facilities may be achieved only through structural alterations, carrying may serve as a temporary expedient until construction is completed.

However, even in these two rare situations where carrying can be justified, all persons involved in the carrying must be formally instructed in the safest and least humiliating methods of carrying.

- Instead of making the front door accessible and putting in a new elevator, can we use the back door and our freight door?

Back doors and freight elevators are allowed only as a last resort (DOJ Title II Technical Assistance Manual, p.19).

Back doors and freight elevators may be used to satisfy the program accessibility requirement only as a last resort and only if they provide accessibility comparable to that provided to persons without disabilities. A back door is acceptable only when the following criteria are met:

- If the back door is kept unlocked during the same hours, the front door remains unlocked.

- The passageway to and from the door is accessible, well lit, clear of obstructions, and clean.

    - An individual with a mobility impairment does not have to travel excessive distances or through public areas such as kitchens and storerooms to gain access.

    - A freight elevator is acceptable if it is upgraded for general passengers.

    - The passageways leading to and from the elevator are well-lit, clear of obstructions, and clean.

# PRACTICAL EXERCISES

ARE THE PEOPLE DESCRIBED BELOW INDIVIDUALS WITH DISABILITIES

AS DEFINED IN THE ADA?

Definition of Disability:

42 USC § 12102(2)

A person with a disability is defined as:

I. A person with a physical or mental impairment that substantially limits one or more major life activities; or

- A person with a record of such a physical or mental impai1ment; or

- A person who is regarded as having such an impairment.

Read each question and mark (Yes) if you believe the person is a qualified individual with a disability. Mark

(No) if you believe the person is not a qualified individual with a disability.

| - A person tests HIV positive but shows no signs or symptoms of the disease. | □ Yes □ No |
| --- | --- |
| - A person who has a psychiatric problem is fired because his boss gave him a drug test and found that he used cocaine. | □ Yes □ No |
| - A small child is not allowed to go to summer camp because she has a severe behavioral problem. | □ Yes □ No |
| - A person who does not read or write very well because he dropped out of school is not hired for a job that requires reading and writing to fill out forms. | □ Yes □ No |
| - A person who is legally blind is thrown out of a store because she starts a fight. | □ Yes □ No |
| - A person gets very sick whenever she is around chemical solvent used in most buildings and stores. | □ Yes □ No |
| - Two people apply for a salesclerk job. One applicant has experience in this area, with excellent references; he has a very bad scar on his face. The other applicant has no experience and gets the job. | □ Yes □ No |
| - A person has a blood disease and would not live if she didn't take her medication during working hours | □ Yes □ No |
| - A person who has not had a seizure in 15 years is denied a job as a truck driver | □ Yes □ No |
| - A person was turned down for a job because the employer heard about their | □ Yes □ No |

##### FACT

DO YOU KNOW?

THE ADA COVERS NOT ONLY AMERICANS WITH DISABILITIES, BUT ALL INDIVIDUALS WITH DISABILITIES IN THIS COUNTRY, REGARDLESS OF THEIR ETHNIC OR NATIONAL ORIGIN AND REGARDLESS OF THEIR CITIZENSHIP STATUS.

ANSWERS TO QUESTIONS: DECIDING IF A PERSON HAS A DISABILITY

- Yes. This person is considered disabled by the ADA. HIV infections are considered a disability even if the person shows no signs of having the disease.

- No. A person's illegal drug use is not considered a disability under the ADA. Discrimination would have occurred only if the employer had fired the person because of his psychiatric problem.

- Yes. This child is considered disabled because of her mental problems.

- No. This does not have a disability. If this person had a disability such as dyslexia, which caused him not to read or write, he would be considered to have a disability.

- No. This person is not covered by the ADA in this instance. The person was thrown out of the store because of the fight, not because of the disability.

- Yes. This person has a disability, called environmental illness, and is covered by the ADA.

- Yes. This person has a disability and is covered by the ADA. The attitudes that people have toward this individual substantially limits his major life activities in the area of working and earning a living.

- Yes. This person is covered by the ADA. Without weekly medical treatment, this person would die. However, with weekly medically treatments she can do her major life activity.

- Yes. This person is covered by the ADA because she has a history of a disability.

- Yes. This person has a disability and is covered by the ADA. Individuals who do not use drugs now but have a history of drug addiction are covered by the ADA.

ADA

TITLE II QUESTIONS IN LOCAL GOVERNMENT

Check (Yes) if the situation is a violation of the ADA. Check (NO) if the situation is not a violation of the ADA.

- A parish government sponsors a health class for people who are soon to be parents. The class is held on the third floor of a parish building that has no elevator. Is this a violation of the ADA?

- Only those people who live in the county and are soon to be parents are allowed to attend the class for people expecting a child. ls this a violation of the ADA?

□ Yes	□ No

□ Yes	□ No

- The parish office does not allow people with mental illness inside	□ Yes	□ No its offices. ls this a violation of the ADA?

- The city hosts a conference of the PTA (Parents and Teachers	□ Yes	□No Association) in a building that is inaccessible. Two parents who

are PTA members use wheelchairs. Has the ADA been violated?	□ Yes	□No

| 5. Under the ADA, is a city's main library required to have a TDD? | □ | Yes | □ | No |
| --- | --- | --- | --- | --- |
| 6. Is the requirement to provide reasonable accommodation to a | □ | Yes | □ | No |
| person with a disability when hired for a job different for a city |  |  |  |  |
| than a private company? |  |  |  |  |
| 7. A city office publishes a pamphlet on issues that will be discussed each time the city holds an election. A person who is blind | □ | Yes | □ | No |
| requests the pamphlet in Braille. The city office sends |  |  |  |  |
| the individual an audio tape instead of the booklet in Braille. Is this a |  |  |  |  |
| violation of the ADA? |  |  |  |  |
| 8. A parish program provides free meals to low-income Vietnam | □ | Yes | □ | No |
| veterans and requires each person to show a driver's license as |  |  |  |  |
| identification. Is this a violation of the ADA? |  |  |  |  |
| 9. There are no accessible restrooms in the parish library. If | □ | Yes | □ | No |
| restrooms are provided for non-disabled library patrons is the |  |  |  |  |
| library program accessible when viewed in its entirety? |  |  |  |  |

I 0. A city zoning ordinance requires the front entrance of a business to create a setback of 12 feet from the curb. To install a ramp at the front entrance of a pharmacy, the owner must encroach on the setback by three feet. The city won't allow the owner to build the ramp. Is this a violation of the ADA?

- The county charges individuals with disabilities for interpreters,

for large print, and for the use of FM amplification systems. Is this a violation of the ADA?

□Yes	□ No

□Yes	□ No

ANSWERS TO TITLE II QUESTIONS IN LOCAL GOVERNMENT

- Yes. The parish must provide program access to the class. However, it does not have to make the third floor accessible. Instead, the class should be moved to another building or to a floor that is accessible.

- No. The requirements of being a parent and living in the parish do not screen out a person with disabilities. However, if individuals who have disabilities live in the parish and are soon to be parents are not allowed to attend, this would be a violation of the ADA.

- Yes. Preventing any person with a disability from accessing this office is a violation of the ADA.

- Yes. Unless the city moves the PTA conference to a building that is accessible.

- Yes. Unless an equally effective telecommunications system is provided.

- No. The requirement to provide job accommodations for a person with a disability is the same for a city, parish, or state government.

- In most cases, this would be a violation of the ADA. The parish is required to provide effective communication in a manner that enables the individual to participate on an equal basis with all others. The city must give each person who has a communication impairment the opportunity to request the auxiliary aid or service of their choice.

- Yes. Because some veterans may not have a driver's license because of blindness or some other disability. The parish must accept other forms of identification.

- No. The library must provide accessible restrooms if it provides restrooms for persons without disabilities.

- Granting a variance in the zoning requirement may be a reasonable modification of the city policy.

- Yes. The parish must provide effective communication where necessary to ensure equal access to programs and activities. However, the parish cannot charge for this service.

HOW MUCH DO YOU KNOW ABOUT THE EMPLOYMENT REQUIREMENTS

Read each situation and mark the corresponding box if you believe the employer is asking either legal or illegal questions or is otherwise violating the ADA and Section 504. If there is not enough information to determine whether the question is legal or illegal, mark "not enough information."

  - For a job where lifting a 35-pound weight is a		□ legal	□ illegal marginal function of the job, the application	 □ not enough information contains the question, "Can you lift a 35-pound

weight?"

  - In an interview for a job where lifting a 35-pound	□ legal	□ illegal weight is a marginal function, the employer asks,	□ not enough information "Can you lift a 35-pound weight?"

  - On an application is the question, "Do you have a	□ legal	□ illegal physical impairment that would keep you from	□ not enough information performing this job?"

  - In an interview, the employer asks, "Have you	□ legal	□ illegal ever seen a psychologist?"	 □ not enough information

  - In an interview, the employer asks, "Have you	 □ legal	□ illegal ever been hospitalized? If yes, what was the	□ not enough information reason?"

  - In an interview, the employer asks, "How much	□ legal	□ illegal alcohol do you drink?"	□ not enough information

  - In an interview, the employer asks, "Have you	□ legal	□ illegal ever filed for Worker's Compensation	□ not enough information Insurance?"

  - On an application appears the question, "Will	□ legal	□ illegal you need a reasonable accommodation to take a	□ not enough information written, timed pre-employment test?"

  - On the application appears the question, "Can	□ legal	□ illegal you perform this job with or without a reasonable	 □ not enough information accommodation?"

I0. In the interview for a word processing job, the	□ legal	□ illegal question is asked, "What reasonable accommodations	□ not enough information will you need if you are hired?"

- On an application appears the statement, "At the

□  legal

□  illegal

bottom of this form is a section asking affirmative action information regarding race and disability status. Answering these questions is purely voluntary and will not be used to disqualify you for this job."

□ not enough information

- In the interview, the employer asks a person with

□ legal

□  illegal

an obvious physical disability to describe how she will perform a certain function, but the employer has not asked the same question of the other applicants who were interviewed.

- After the interview, the employer conducts drug and alcohol tests on each applicant.

□ not enough information

□  legal	□  illegal

□ not enough information

ANSWERS TO EMPLOYMENT QUESTIONS

- This is a legal question. Employers may ask if applicants can perform marginal functions, though negative employment decisions may not be based on their inability to perform marginal functions because of disability.

- This is a legal question. The rules for interviews are the same as the rules for applications.

- This is an illegal question because it asks about disability.

- This is an illegal question because the answer may reveal information about the applicant that could suggest that he or she has a disability.

- This is an illegal question because the answer may reveal information about the applicant that could suggest that he or she has a disability.

- This is an illegal question because the answer may reveal information about the applicant, which could suggest that he or she has a disability. "Do you drink?" is permissible, but not "How much alcohol do you drink?"

- This is an illegal question because the answer may reveal information about the applicant that could suggest that he or she has a disability.

- This is a legal question. Employers may ask if applicants will need a reasonable accommodation to take a test.

- This is a legal question. Employers may ask if applicants can perform job functions with or without reasonable accommodation.

- It is unclear whether this question violates the ADA. It is legal to ask if an applicant can perform job functions with or without a reasonable accommodation. However, it may not be legal to ask about other kinds of accommodations, such as accommodations needed to enjoy equal benefits and privileges of employment that are available to other employees.

- This is an illegal question unless the employer is required to do affirmative action by Section 503 of the Rehabilitation Act of 1973 or another federal law.

- This does not violate the ADA if the person's disability might interfere with or prevent the performance of the job function. If the disability will not interfere with or prevent the performance of the job function, the employer may only request the description of how the applicant will perform the job function (if the request is made to all applicants for the same job).

- At this point in the application process, before a job has been offered, the drug test is legal, but the alcohol test is not. An alcohol test is considered a medical examination and is therefore only legal after a conditional job offer.

# SELF-EVALUATION QUESTIONNAIRE

LOUISIANA OFFICE OF COMMUNITY DEVELOPMENT - DISASTER RECOVERY

SECTION 504 - SELF-EVALUATION QUESTIONNAIRE

The following questions will help you complete your self-evaluation. The questions are organized into five areas: 1) Program Policy and Procedures; 2) Employment; 3) Effective Communication; 4) Notice of Nondiscrimination; and 5) Grievance Procedure. Mark Yes, No, N/A for each question. (See Checklist

on page 6 for contents of a completed Self-Evaluation).

| Program Policy and Procedures |  |
| --- | --- |
| - Does your entity have a written policy stating that it does not discriminate against people with disabilities? | □Yes □ No □N/A |
| - Does your staff know and understand your commitment not to discriminate? | □Yes □ No □N/A |
| - Do you have a designated coordinator for the Section 504 Rehabilitation and the Americans with Disabilities Act (ADA) compliance requirements? | □Yes □ No □N/A |
| - Have you identified the persons with disabilities and other individuals who helped in our Self-Evaluation, and is their pa11icipation described? | □Yes □ No □N/A |
| - Do you have procedures to ensure that all programs, services, and activities, including meetings, hearings, workshops, and conferences, are held in accessible locations? | □Yes □ No □N/A |
| - Are the resource manuals that govern your programs, including laws, statutes, rules, policies, manuals, ordinances, and other guidelines, available in alternate formats, or do you have the ability to provide alternate formats? | □Yes □ No □N/A |
| - Do you have a separate or special program for individuals with disabilities? | □Yes □ No □N/A |
| - If yes to# 7, do you have written procedures to ensure that these individuals may also participate in programs available to the public? | □Yes □ No □N/A |
| - Do you have any policies and procedures, program eligibility and admission requirements, or licensing standards that: | □Yes □ No □N/A |
| - Deny a qualified individual with a disability the opportunity to participate in or benefit from the aid, benefit, or service? | □Yes □ No □N/A |
| - Do you afford an opportunity for participation or benefit equal to that afforded others? | □Yes □ No □N/A |
| - Do you provide a qualified individual with a disability with an aid, benefit, or service that is as effective in affording equal opportunity to obtain the same result, gain the same benefit, or reach the same level of achievement as that provided to others? | □Yes □ No □N/A |
| - Do you provide aids, benefits, or services to individuals with disabilities as effectively as those provided to others? | □Yes □ No □N/A |
| - Do you assure that assistance or contract is not provided to a person or entity that discriminates based on disability? | □Yes □ No □N/A |
| - Do you deny a qualified individual with a disability the opportunity to participate as a member of planning or advisory boards? | □Yes □ No □N/A |
| - Limit the enjoyment of a qualified individual with a disability any right, privilege, advantage or opportunity enjoyed by other qualified individuals who receive your services? | □Yes □ No □N/A |
| - Do you have provisions to ensure that contractors understand 504/ADA requirements? | □Yes □ No □N/A |
| - If you use video, audiovisual, and television equipment, do you ensure that hearing-impaired persons can benefit from presentations? | □Yes □ No □N/A |
| Employment |  |
| - In the following areas, do you have policies, practices, or procedures that are followed to ensure that there is no discrimination based on disabilities? | □Yes □ No □N/A |
| - Recruiting advertisements | □Yes □ No □N/A |
| - Processing of applications | □Yes □ No □N/A |
| - Employment testing | □Yes □ No □N/A |
| - Interviewing and orientation | □Yes □ No □N/A |
| - Promotion, transfer, demotion, lay-off, or reinstatement, including changes in compensation resulting from these actions | □Yes □ No □N/A |
| - Job assignments | □Yes □ No □N/A |
| - Job classifications, use of vacation and sick leave, unpaid leave of absence, or compensatory time | □Yes □ No □N/A |
| - Opportunities for and financial support of training opportunities, conferences, health and insurance benefits, agency-sponsored activities, including recreational or social programs. | □Yes □ No □N/A |
| - Do you have a process to ensure that any employment-related criteria (including minimum qualifications and testing requirements) that would adversely affect the opportunities of individuals with disabilities are related to the job and are a business necessity? | □Yes □ No □N/A |
| - Do you have a process for how your entity responds to a request for an accommodation in testing and interviews? | □Yes □ No □N/A |
| - Do you have procedures to ensure that nondiscriminatory questions are asked in a hiring interview? | □Yes □ No □N/A |
| - Do you have a process to determine if an individual with a disability is capable of performing the essential functions of a particular job, with or without a reasonable accommodation? | □Yes □ No □N/A |
| - Do you have a process to determine whether a request for a reasonable accommodation on the job can be granted or would cause undue hardship? | □Yes □ No □N/A |
| - Do you have a policy and procedure for maintaining the confidentiality of employee medical information, voluntary self-identification of disability, and requests for accommodation? | □Yes □ No □N/A |
| - Do you provide training or take other measures to ensure that employees and supervisors do not subject individuals with disabilities to discrimination because of insensitivity or lack of knowledge? | □Yes □ No □N/A |
| - If you have automated electronic equipment in the workplace? Can persons with disabilities use the equipment? | □Yes □ No □N/A |
| - Do you ensure that no pre-employment inquiries are made as to whether an applicant for a position is a person with a disability? | □Yes □ No □N/A |
| Effective Communication |  |
| - Do you have a policy or procedure to ensure that communications with applicants, participants, and members of the public with disabilities are as effective as communications with others? | □Yes □ No □N/A |
| - If any written materials are provided by your program or services, do you provide any of the following alternatives? | □Yes □ No □N/A |
| - Audio tape | □Yes □ No □N/A |
| - Braille | □Yes □ No □N/A |
| - Reader | □Yes □ No □N/A |
| - Aide | □Yes □ No □N/A |
| - Mailed to home | □Yes □ No □N/A |
| - Large print | □Yes □ No □N/A |
| - Interpreter | □Yes □ No □N/A |
| - Other assistance | □Yes □ No □N/A |
| - Do you describe the auxiliary aids and services that will be provided to individuals with a disability? | □Yes □ No □N/A |
| - Do you describe how an individual with a disability may request assistance and express their preference for auxiliary aids and services? | □Yes □ No □N/A |
| - Do you describe how your entity regularly advertises to the public that you will provide auxiliary aids and services for effective communication to participate in your programs and services? | □Yes □ No □N/A |
| - Do you describe how your entity will ensure that meetings, hearings, and conferences will be accessible for individuals with communication disabilities | □Yes □ No □N/A |
| - Do you describe how your entity will use TDD (telecommunication device for the deaf) or the state relay system to communicate with those who have impaired hearing or speech, including training of staff? | □Yes □ No □N/A |
| - Do you have a 911 emergency service? | □Yes □ No □N/A |
| - If yes to #8, is there a TDD connected to this service? | □Yes □ No □N/A |
| - If you have another form of emergency service, can people with disabilities access it? | □Yes □ No □N/A |
| - Are your TDD or relay service phone numbers printed on agency brochures, notices, and letterhead listed in telephone directories? | □Yes □ No □N/A |
| - Does your entity have an 800 number? | □Yes □ No □N/A |
| - If yes to #11, do you describe how the entity makes the 800 | □Yes □ No □N/A |
| - Do you let the public use your telephone? | □Yes □ No □N/A |
| - If yes to # 12, is there at least one designated phone that is hearing-aid compatible? | □Yes □ No □N/A |
| - If your entity determines that equally effective communication cannot be provided, do you have the following: | □Yes □ No □N/A |
| - A statement included in your Self-Evaluation from the head of your agency or designee? | □Yes □ No □N/A |
| - Reasons why the service, program, or activity would be fundamentally altered or would result in undue financial and administrative burdens? | □Yes □ No □N/A |
| - A description of what other action will be taken to | □Yes □ No □N/A |
| Notice of Nondiscrimination |  |
| - Does your Self-Evaluation include a copy of your Notice of Nondiscrimination? | □Yes □ No □N/A |
| - Does your notice include the following information: | □Yes □ No □N/A |
| - A statement that your entity does not discriminate under Section 504 or the ADA? | □Yes □ No □N/A |
| - Your 504/ADA Coordinator's name, address, telephone number, and office hours? | □Yes □ No □N/A |
| - A statement that asks individuals to give at least three to five days' advance notice to request auxiliary aids or other services? | □Yes □ No □N/A |
| - A statement notifying individuals about the availability of alternative formats? | □Yes □ No □N/A |
| - A statement that your city or parish has a grievance procedure available to resolve complaints? | □Yes □ No □N/A |
| - Do your written materials contain a notice that your city or parish cannot accommodate a person with a disability? | □Yes □ No □N/A |
| - Does your grievance procedure include a time limit to file an individual to submit a grievance in alternative formats? | □Yes □ No □N/A |
| - Does your grievance procedure include a time limit to file a grievance? | □Yes □ No □N/A |
| - Does your grievance procedure inform individuals of their right to file a complaint with a state or federal agency, including the agency's addresses? | □Yes □ No □N/A |

# SECTION III TRANSITION PLAN

## Transition Plan Requirement

For Section 504, all recipients of federal funds, regardless of the number of employees, must complete a Transition Plan, if applicable. Under the ADA, only those Title II entities with 50 or more employees must have a written Transition Plan, if applicable.

## How is the Transition Plan Developed?

- The Transition Plan begins with conducting a walk-through of all of an entity's facilities in which it offers programs, services, and activities. Facilities include buildings, playgrounds, parks, etc. The purpose of the walk-through is to identify all physical (structural) barriers that limit or prevent access to programs, services, and activities.

- After all barriers are identified, an evaluation is conducted to identify those which, for now or forever, can be overcome through non-structural changes (see page 5 for non-structural solutions). These barriers and changes should be noted in your three-ring binder so that they are identified as alternatives to structural changes.

- For each facility needing structural changes to overcome structural barriers to permit access to programs, services, and activities, a Transition Plan is then written. The format on pages 51 and 52 indicates the required information.

Under the ADA, if your entity is responsible for or has authority over streets, roads, or walkways, the Transition Plan must include a schedule for providing curb ramps or other sloped areas where pedestrian walks cross curbs. When developing the schedule, the ADA stipulates a priority list: government offices and facilities, transportation, places of public accommodation, and employees, followed by walkways serving other areas.

There are many checklists available for identifying barriers, but some standards, such as for parks and recreational areas, are still being developed. The LOCD-DR can provide a checklist and can provide some information on standards for recreational facilities and children's environments. Pages 54-74 contain one example of a checklist that can be used.

| ## ADA/504 TRANSITION PLAN OUTLINE |  |
| --- | --- |
| Name of Person Completing this Form |  |
| Title | Date |
| Name and Address of Facility |  |
| Necessary structural changes (list feature(s) and how each is inaccessible): |  |
| Applicable UFAS or ADAAG standard: |  |
| Type of action to be taken: If no action is anticipated because it is an "Undue Burden" or is not "Readily Achievable", provide an explanation for the determination. |  |
| Person Responsible for Overseeing Action: |  |
| Project Date to Initiate Action: |  |
| Projected Date to Complete Action: |  |
| Projected Cost to Complete Project: |  |

# ACCESSIBILITY CHECKLIST

## ELEMENT 1: ACCESSIBLE ROUTE

| Facility Address Reviewer |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ELEMENT 1: ACCESSIBLE ROUTE Need: Persons who use wheelchairs, walk with difficulty, or use walking aids such as crutches, canes, walkers, etc., need a wide, smooth, level, firm surface to get from place to place. Steep slopes are difficult or impossible for many people who use wheelchairs to negotiate, especially if they have limited use of their shoulders. Small steps and bumps can block the front caster wheels of wheelchairs and trip people who walk with difficulty. Steps and stairs are impossible for people in wheelchairs and exhausting for many others. Soft, uneven, or rough surfaces can be very difficult for a wheelchair to traverse, and surface openings can catch crutch and cane tips, or even wheelchair wheels. Visually impaired people need a path that is free from hazards including low hanging or protruding objects, which cannot be detected by a cane. Basically, an accessible route is a clear path 36" wide and 80" high with a continuous, smooth surface. Such a path must have no vertical changes in level greater than ½", and if it connects floors or levels, must do so by ramps, elevators, or lifts. An accessible route must connect all the accessible spaces in the facility from the walks and paths and parking outside, through the entrance to the accessible hallways, doors, elevators, toilet rooms, drinking fountains, and special use facilities inside. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement of Finding | Necessary Changes |
| I. Number 4.1.2(1) (p. 5) 4.3.2 (p. 15) | I. Number 4.1.2(1) (p. 5) 4.3.2 (p. 16) | At least one accessible route shall connect parts of the facility. | Same |  |  |
| 2. Width 4.3.3 (p. 18) | 2. Width 4.3.3 (p. 16) | Min: 36" clear except at doors | Same |  |  |
| 3. Passing Space 4.3.4 (p. 18) | 3. Passing Space 4.3.4 (p. 16) | If route is less 60" x 60" passing space min. of every 200' | Same |  |  |
| 4. Head Room 4.3.3 (p. 18) | 4. Head Room 4.3.5 (p. 16) 4.4.2 (p. 22) | Min: 80" clear | Sarne |  |  |
| 5. Surface Texture 4.3.6 (p. 18) 4.5 (p. 22) | 5. Surface Texture 4.3.6 (p. I6) 4.5 (p. 22) | Non-Slip Firm Stable | Same |  |  |
| 6. Slope 4.3.7 (p.18) | 6. Slope 4.3.7 (p. I9) | Not to exceed I:20. If greater than I:20 apply criteria for ramps and curb ramps (See Elements 3 & 4) | Same |  |  |
| 7. Changes in Levels 4.3.8 (p.9) | 7. Changes in Levels 4.3.8 (p.19) | If greater than .5" then curb ramp (Element 3), ramp (Element 4), elevator (Element 7), or plat- Form lift (Element 8) applies | Same |  |  |
| 8. Gratings 4.5.4 (p.22) Fig. 8(h) (p.23) | 8. Gratings 4.54.4 (p.25) Fig. 8(h) (p.22 & 23) | Max:.5" wide in direction of route except at doors | San1e |  |  |

## ELEMENT 2: PARKING

| Facility Address Reviewer |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ELEMENT 2: PARKING Need: Many persons with disabilities drive their own cars or vans and need parking spaces which are wide enough to open car doors fully and get out with a wheelchair or mobility aid, are close to the building or facility they are going to, and are on an accessible route from the parking lot to the building or facility which it serves. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement of Finding | Necessary Changes |
| I. Number 4.l.l (5) (p.5) | I. Number 4.1.2(5) (p.5) | At least one if any visitor parking is provided by agency. More, depending on the number of spaces provided. | Same |  |  |
| 2. Location 4.6.2 (p.23) | 2. Location 4.6.2 (p.25) | Closest to accessible entrance; on Accessible route | Same |  |  |
| 3. Width of Space 4.6.3 (p.23) | 3. Width of Space 4.6.3 (p.25) | Min. 96" wide | Same |  |  |
| 4. Width of Space and Access Aisle 4.6.3 (P.23) | 4. Width of Space and Access Aisle 4.6.3 (p.25) | Adjacent to space; Min 60" wide | Same |  |  |
| 5. Slope of Space and Access Aisle 4.6.3 (p.23) | 5. Slope of Space and Access Aisle 4.6.3 (p.25) | Max: 1:50 | Same |  |  |
| 6. Signage on Space 4.6.4 (p.23) | 6. Signage on Space 4.6.4 (p.25) | Sign on space showing the symbol of access | Same |  |  |

## ELEMENT 3: CURB RAMPS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 3: CURB RAMPS Need: Curbs represent a significant barrier for many persons with disabilities. Properly design curb ramps eliminate these barriers for persons in wheelchairs and persons using other mobility aids. Curb ramps are an essential part of an accessible route. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement of Finding | Necessary Changes |
| 1. Number & Location 4.7. l(p.24) | 1. Number & Location 4.7. l(p.26) | Whenever an accessible route crosses a curb | Same |  |  |
| 2. Slope 4.7.2 (p.24) | 2. Slope 4.7.2 (p.26) | Max: 1.12 | Same |  |  |
| 3. Width 4.7.3 (p.25) | 3. Width 4.7.3 (p.26) | Min. 36" | Same |  |  |
| 4. Surface 4.7.4 (p.25) | 4. Surface 4.7.4 (p.26) | Fim1 Stable Non-slip | Same |  |  |
| 5. Side Design 4.7.5 (p.25) | 5. Side Design 4.7.5 (p.26) | If where pedestrians walk or if no handrails or guard rails, then must have flared sides and a max. slope of flare 1.10 | Same |  |  |

## ELEMENT 4: RAMPS

| Facility Address Reviewer |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ELEMENT 4: RAMPS Need: Person in wheelchairs who use ramps need the ramps to be gently sloped, to have handrails, to be protected from drop offs, to have a smooth, stable surface, and to have level top and bottom platforms along the way for resting and turning. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number & Location 4.8.I (p.25) 4.3.7 (p.18) | I. Number & Location 4.8.1(p.27) 4.3.7(p. I9) | Any part of an accessible route with a slope greater than 1:20 | Same |  |  |
| 2. Slope 4.8.2 (p.25) | 2. Slope 4.72 (p.27) | Least possible; max. 1:12 except curb ramps (See Element 3) | Same |  |  |
| 3. Cross Slope 4.8.6(p.27) | 3. Cross Slope 4.8.6 (p.29) | Max: 1.50 | Same |  |  |
| 4. Surface 4.8.6 (p.27) 4.5.1 (p.22) | 4. Surface 4.8.6 (p.29) 4.5. l(p.22) | Slip Resistant Firm Stable | Same |  |  |
| 5. Handrails 4.8.6 (p.25) | 5. Handrails 4.8.5 (p.29) | If ramp rise is more than 6" and run is more than 72", handrails 30" to 34" high extending 1' beyond top and bottom of ramp shall be provided | Same |  |  |
| 6. Edge Protection 4.8.7 (p.27) | 6. Edge Protection 4.8.7 (p.30) | Ramp must have walls, railing, projecting surfaces or, or curbs at least 2" high to prevent slipping off ramp | Same |  |  |
| 7. Landings 4.8.4 (p.25) | 7. Landings 4.8.4 (p.29) | Level landing as wide as ramp and min. 60" long at top and bottom of ramp and each run of ramp | Same |  |  |
| 8. Gratings 4.5.4 (p.22) Fig. 8(h) (p.23) | 8. Gratings 4.54.4 (p.25) Fig. 8(h) (p.22 & 23) | Min: 36" | Same |  |  |

## ELEMENT 5: ENTRANCE AND INTERIOR DOORS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 5: ENTRANCE AND INTERIOR DOORS Need: Persons with mobility impairments need a building entrance that provides a wide, smooth, level, or ramped route connecting the site with the building interior. Entrance doors need to be wide, have adequate space for maneuvering on both the pull and push sides, and require light pressure and no twisting or fine movements to operate. The biggest problem at entrances is usually a change in level, which requires steps or stairs. These barriers must be identified and corrected by grading, ramping, or adding a lift. Therefore, an accessible building entrance combines the requirements of an accessible route and accessible doors. In addition, since building entrances often involve steps or stairs or other changes in level, such as terraces, porches, etc., the requirement for ramps or lifts may also apply. A person with a mobility impairment needs doors that are wide enough to pass through without bumping into the sides. They need to be able to be out of the way of the swing of the door while pulling it open. People with limited use of hands, arms, and shoulders need hardware that is easily operated without tight grasping or twisting. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number 4.1.2 (8) (p.6) | I. Number 4.1.2 (8) (p.8) | At least one principal entrance must be accessible | At least 50% of all public entrances must be accessible |  |  |
| 2. Location 4.38.2 (p.15) | 2. Location 4.3.2 (p.16) | On an accessible route | Same |  |  |
| 3. Type 4.13.2 (p.33) | 3. Type 4.13.2 (p.36) | Standard single or double-leaf hinged door, i.e., not revolving doors or turnstiles | Same |  |  |
| 4. Width 4.13.5 (p.33) Fig. 24 (p.33) | 4. Width 4.13.5 (p.36) Fig. 24(p.36) | Min. 32" clear Opening. If double leaf with independently operated leaves then one must be min. 32" clear | Same |  |  |
| 5. Hardware 4.13.9 (o.36) | 5. Hardware 4.13.9 (p.36) | Max: height 48". Push/pull type or level operated | Same |  |  |
| 6. Opening Force 4.13.11 (p.36) See ANSI, Al 17.1, 4.13.11 (o.43) | 6. Opening Force 4.13.11 (p.36) See ANSI, Al 17.1, 4.13.11 (p.36) | Max: 8.5 lb ext. Hinged door, 5 lb Int. hinged, sliding, or folding | Same |  |  |
| 7. Thresholds at Doorways 4.13.8 (p.36) | 7. Thresholds at Doorways 4.13.8 (p.36) Fig. 25 (p.38 & 39) | Max. 5" high with Leveled edged; Max slope I:2 | Same |  |  |
| 8. Floor at Doorway 4.13.6 (p.36) Fig. 25 (p.34 & 35) | 8. Floor at Doorway 4.13.6 (p.36) Fig. 25 (p.38 & 39) | Depends on door, See Fig. 25 | Sarne |  |  |

## ELEMENT 6: ELEVATORS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 7: ELEVATORS Need: All individuals with handicaps benefit from a building which has elevators. To be usable the elevators must provide adequate maneuvering space, time to get to and enter the cab, and must be conveniently located and have marked controls. Persons who are visually impaired need elevators which audibly indicate direction of travel and floors passed or arrived at, and which have tactile markings at all controls. Hearing-impaired persons need all this information to be visual. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number |  | At least one serving | Not required if |  |  |
| 4.1.2 (5) (p.5) |  | each level on an | building has less |  |  |
|  |  | accessible route in a | than 3,000 sq. ft. per |  |  |
|  |  | multi-story facility, | floor or is less than |  |  |
|  |  | where levels are not | three stories, unless |  |  |
|  |  | connected by ramps | building is a |  |  |
|  |  |  | shopping mall, |  |  |
|  |  |  | shopping center, or |  |  |
|  |  |  | health care provider |  |  |
|  |  |  | office |  |  |
| 2. Location | 2. Location | On an accessible route |  |  |  |
| 4.3.8 (p.19) | 4.3.8 (p.19) |  | Same |  |  |
| 4. IO.I(o.30) | 4.10.1 (o.30) |  |  |  |  |
| 3. Type 4. I0.2 (p.30) | 3. Type 4.10.2 (p. 30) | Passenger automatic self-leveling with reopening devices |  |  |  |
| 4. Elevator Cars | 4. Elevator Cars | Min. side opening | Same |  |  |
| 4.10.9 (p.30) | 4.10.9 | 51" X 68" |  |  |  |
| Fig. 22 (p.31) | (p.33 & 34) | Min. front opening |  |  |  |
|  | Fig. 22 (p.34) | 51" X 80" |  |  |  |
| 5. Hall Call Button 4.10.3 (p.30) | 5. Hall Call Button 4.10.3 (p.30) | Centered 42" or less from floor, lighted | Same |  |  |
| 6. Car Controls | 6. Car Controls | Highest control 48" | Same |  |  |
| 4.10.12 (p.31) | 4.10.12 (p.34) | Buttons at least ¾" |  |  |  |
|  |  | and marked with |  |  |  |
|  |  | Raised characters |  |  |  |
| 7. Elevator Doors 4.10.8 (p.361 | 7. Elevator Doors 4.10.8 (p.33) | Door remains open three seconds | Same |  |  |

## ELEMENT 7: LIFTS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 8: UFTS Need: Lifts are not acceptable in new construction, but they can be a successful solution to existing steps and stairs that cannot be ramped or otherwise modified. In addition, to meeting State and local code requirements, lifts must meet requirements for clear floor space, floor, surface, and controls. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement of Finding | Necessary Changes |
| I. Number | I. Number | May be used in | Exception 4 |  |  |
| 4.1.2 (5) (p.5-6) | 4.1.3. (p.7) | lieu of elevator |  |  |  |
| 4.11.1 (p.33) |  |  |  |  |  |
| 2. Clear Floor Space 4.2.4 (p.14) | 2. Clear Floor Space 4.2.4 (p.15) | Min. 30" x 48" | Same |  |  |
| 3. Type | 3. Type | Passenger |  |  |  |
| 4.10.2 (p.30) | 4.10.2 (p. 30) | automatic self- |  |  |  |
|  |  | leveling with |  |  |  |
|  |  | reopening |  |  |  |
|  |  | devices |  |  |  |
| 4. Elevator Cars | 4. Elevator Cars | Min. side | Same |  |  |
| 4.10.9 (p.30) | 4.10.9 | opening |  |  |  |
| f-ig. 22 (p.31) | (p.33 & 34) | 51" X 68 ,. |  |  |  |
|  | Fig. 22 (p.34) | Min. front |  |  |  |
|  |  | opening |  |  |  |
|  |  | 51" X 80" |  |  |  |

## ELEMENT 8: DRINKING FOUNTAINS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 9: DRINKING FOUNTAINS Need: Persons in wheelchairs need drinking fountains mounted low enough so that they can reach the spout. They also need to be able to pull up under the fountain or along its side. Persons who have difficulty using their hands need controls that can be easily operated |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number 4.1.2 (9) (p.6) | I. Number 4.1.3. ( I 0)(p.8) | 50% on each floor. If only one is available, it must be accessible | 50% on each floor. If only one is on a floor, it must be accessible for individuals in wheelchairs, and for those who have difficulty bending, stooping. |  |  |
| 2. Location 4.3.2 (2) (p.15) | 2. Location 4.3.2(2) (p.8) | On an accessible route | Same |  |  |
| 3. Height 4. I5.2 (p.36) Fig 27 (p.37) | 3. Height 4.15.2 (p. 40) Fig 27 (p.41) | Spout mounted 36" above floor | Sarne |  |  |
| 4. Controls 4.15.4 (p.36) 4.27.4 (p.45) | 4. Controls 4.15.4 (p.40) 4.27.4 (p.52) | Operable with one hand without grasping or twisting | Same |  |  |
| 5. Clearance 4.15.5 (p.36) Fig. 27 (p.37) | 5. Clearance 4.15.5 (p.40) Fig. 27 (p.41) | Wall mounted bottom of apron to floor 27" min. Built in: 30" x 48" min. front of foundation | Same |  |  |

## ELEMENT 9: RESTROOMS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 10: RESTROOMS Need: Persons with mobility impairments need restrooms that they can get to and use easily and safely. Fixtures need adequate, clear floor space for close approach and turning, and some require sturdily mounted grab bars for support or transfer. Controls and hardware must be within reach and easily operable. Hot, sharp, abrasive, or protruding objects are hazards to persons with mobility impairments. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| 1. Number 4.1.2(10) (p.6) | I. Number 4.1.2 (I 0)(p.6) | If toilet facilities are provided each shall be accessible | Same |  |  |
| 2. Location 4.3.2 (2)(p. I5) | 2. Location 4.3.2 (2) (p.16) | On an accessible route | Same |  |  |
| 3. Entrance Door 4.13.5 (p.33) Fig 25 & 26 (p.34 & p.35) 4.13.9 (p.36) | 3. Entrance Door 4.13.5 (p.36) Fig 25 & 26 (p.38& p.39) 4.13.9 (p.36) | Min. 32" clear Opening; lever handle or push/pull type hardware | Same |  |  |
| 4. Door Closer 4.13.11(2) (b) & ( C) (p.36) | 4. Door Closer 4.13.11(2) (b) & ( C) (p.37) | 51bf max. effort | Same |  |  |
| 5. Unobstructed Space 4.16.2 (p.37) Fig. 28 (p.38) | 5. Unobstructed Space 4.16.2 (p.40) Fig. 28 (p.42) | Clear space to allow for wheelchair traffic | Same |  |  |
| 6. Toilet Stalls 4.17.3 (p.38) Fig. 30 (p.39) | 6. Toilet Stalls 4.17.3 (p.42) Fig. 30 (p.43) | Door min. 32"; 36" wide, depth can vary depending on configuration | Same |  |  |
| 7. Grab Bars 4.17.6 (p.40) Fig. 29 & 30 (p.38 & 39) 4.26.2 (p.45) | 7. Grab Bars 4.17.6 (p.44) Fig. 29 & 30 (p.42 & 43) 4.26.2 (p.50) | 33" - 36"; back and side of wc; 1.25" to I.5" diameter, 1.5'' clear off wall | Same |  |  |
| 8. Water Closet Seat Height 4.16.3 (p.37) Fig. 29 (p.38) | 8. Water Closet Seat Height 4.16.3 (p.40) Fig. 29 (p.42) |  | Sarne |  |  |

## ELEMENT 10: PUBLIC TELEPHONES

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 11: PUBLIC TELEPHONES Need: Persons in wheelchairs need adequate, clear floor space to pull up to the telephone and a low mounting height so they can reach all operable parts. Persons with hearing impairments need volume controls. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number | I. Number | At least one per | Same |  |  |
| 4.1.2(16) (p.6) | 4.1.2 (I 7)(p.9) | floor if |  |  |  |
|  |  | telephones are |  |  |  |
|  |  | installed |  |  |  |
| 2. Location 4.31.2 (p.47) | 2. Location 4.3.2 (p.54) | On an accessible route with clear | Same |  |  |
|  |  | floor space 30 " x 48" |  |  |  |
| 3. Height | 3. Height | Highest operable | Same |  |  |
| 4.31.3 (p.47) | 4.31.3 (p.47) | control 48" for |  |  |  |
| 4.2.5 (p.15) | 4.2.5 (p.15) | front approach |  |  |  |
|  |  | 54" for parallel |  |  |  |
|  |  | approach |  |  |  |
| 4. Controls 4.31.6 (p.47) | 4. Controls 4.31.6 (p.55) | Push button | Same |  |  |
| 5. Equipment of | 5. Equipment of Hearing Impaired 4.31.5 (p.47) 4.1.2(16) (p.6) | At least one shall | Same |  |  |
| Hearing Impaired |  | generate |  |  |  |
| 4.31.5 (p.47) |  | magnetic field; at |  |  |  |
| 4.1.2(16) (p.6) |  | least one shall |  |  |  |
|  |  | have a volume |  |  |  |
|  |  | control |  |  |  |

## ELEMENT 11: WARNING SIGNALS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 12: WARNING SIGNALS Need: Persons with visual impairments need audible emergency warning systems and persons with hearing impairments need visual or other auxiliary alarms. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number 4.1.2(13) (p.6) | I. Number 4.1.3 (l4)(p.9) | If warning system are provided; then both visual and audible should be provided | Same |  |  |
| 2. Audible 4.28.2 (p.45) | 2. Audible 4.28.2 (p.52) | Minimum 15 debts above prevailing sound level max 120 dcbls | Same |  |  |
| 3. Visual 4.28.3 (p.45) | 3. Visual 4.28.3 (p.52) | Minimum 15 dcbls above prevailing sound level max 120 dcbls | Same |  |  |

## ELEMENT 12: MEETING AND CONFERENCE AREAS

| Facility Address |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer |  |  |  |  |  |
| ELEMENT 13: MEETING AND CONFERENCE AREAS Need: Persons who use wheelchairs need a level area in which to position themselves and from which they can view the performance area. Both the seating area and the performance area must be on an accessible route. Persons with hearing impairments need an auxiliary listening system. |  |  |  |  |  |
| Characteristic & UFAS Reference | Characteristic & ADAAG Reference | UFAS New Construction Requirement | ADAAG New Construction Requirement | Actual Measurement Of Finding | Necessary Changes |
| I. Number 4.1.2(18) (p.7) | I. Number 4.1.3 (I 9)(p.I0) | All places of assembly shall be accessible. | Same |  |  |
| 2. Number of Wheel- chair accessible locations 4.1.2. (18) (p.7) | 2. Number of Wheel- chair accessible locations 4.1.2. (19) (p.10) | At least 3 or more depending on over-all number of seats beginning with 50 seats | At least I or more Depending on overall number of seats beginning with 4 seats. |  |  |
| 3. Placement of wheelchair accessible locations 4.33.3 (p.49) | 3. Placement of wheelchair accessible locations 4.33.3 (p.56) | Adjacent to accessible route | Adjacent to accessible route companion seating. Seating capacity exceeding 300 |  |  |
| 4. Size of locations 4.33.3 (p.49) Fig. 46 (p.50) | 4. Size of locations 4.33.2 (p.56) Fig. 46 (p.57) | Forward access locations mn. 48" long to 33" wide side access locations min. 60" long x 33" wide. |  |  |  |

## OTHER BUILDING ELEMENTS AND SPECIALIZED FACILITIES

Other building elements and special use facilities are not specifically covered by the Facility Evaluation Form. Access to these elements and facilities may be essential if individuals with disabilities are to participate fully in the program or activity conducted by your agency.

|  | UFAS |  | ADAAG |  |
| --- | --- | --- | --- | --- |
| - Bathing facilities and shower rooms |  | 4.23 (p.44) |  | 4.23 (p.48) |  |
| - Storage facilities |  | 4.25 (p.44) |  | 4.25 (p.49) |  |
| - Seating, tables, and working areas |  | 4.32 (p.48) |  | 4.32 (p.56) |  |
| - Dwelling units |  | 4.34 (p.49) |  | NIA |  |
| - Food service facilities |  | 5.0 (p.57) |  | 5.0 (p.50) |  |
| - Health care facilities |  | 6.0 (p.57) |  | 6.0 (p.60) |  |
| - Libraries |  | 8.0 (p.58) |  | 8.0 (p.62) |  |
| - Mercantile |  | 7.0 (p.57) |  | 7.0 (p.61) |  |

As indicated by the references, the Uniform Federal Accessibility Standards (UFAS) and Americans with Disabilities Act Guidelines (ADAAG) contain information about these building elements and special use facilities. If these elements and facilities are used in your programs and activities, or in providing goods and services, you are required to ensure that they are accessible.